## Summary
Project : BOQ FOR PROPOSED OFFICE AT BKC, MUMBAI
Document : SUMMARY OF COST
SRNO | SUMMARY | Amount
1 | CIVIL AND PLUMBING WORKS | 0
2 | MODULAR & PARTITION WORK | 0
3 | CEILING WORKS | 0
4 | LOOSE FURNITURE ITEMS (IN CLIENT'S SCOPE)
5 | DOORS | 0
6 | PAINTING | 0
7 | SOFT FURNISHING | 0
8 | ELECTRICAL WORKS & CCTV WORKS | 0
9 | NETWORK CABLE | 0
10 | HVAC | 0
11 | EXISTING SPRINKLAR & SMOKE DETECTOR INSTALLATION BELOW CEILING | 0
12 | ACCESSS CONTROL WORK - ASSA or eqv | 0
| Total Project Cost (Without Taxes) | 0
| GST | 0
| Total Amount (With Taxes) | 0
NOTE:
· Mathadi, Loading unloading through stairs, etc will be contractor's scope.
· Obtaining any statutory approvals, permissions, or licenses from government authorities, Liaison with municipal bodies, fire department, pollution control board, or other authorities all will be in client' scope but visiting BMC office & cordination will be in contractor's scope along with architect.
· Electrical load calculation, installation of HVAC calculations, low side tonnage in relation to Chillar & AHU, or related works, External, will be contractor's scope
· Coordination with utility agencies (electricity, water, gas, telecom) if any cordination will be in contractor's scope along with architect.
· Site security arrangements, one dedicated site supervisor through for civil interiors & one MEP supervisior to be required out the project
· All White goods, including TV, microwave, etc will be in client's scope. Loose furniture in client's scope.

## BOQ
CIVIL INTERIOR BOQ FOR PROPOSED OFFICE AT BKC, MUMBAI
S.No | Description | Unit | Quantity | Rate | Amount | Total
1 | CIVIL AND PLUMBING WORKS
1.1 | WATER PROOFING & BBC : Providing and applying 2 coats of polymer-modified cementitious waterproofing system (approved make such as Dr. Fixit / Fosroc / Sika) over prepared surface including primer, treatment of floor and walls up to required height, and reinforcement at all joints, corners, and pipe penetrations. (Ladies Washroom not included) | Sqft | 1733 |  | 0
1.2 | SIPOREX - Providing and erecting 4" thk siporex wall in cement and sand mortar 1:3 with flush joint complete with material, labour, scaffolding, curing etc. | sq.ft | 455 |  | 0
1.3 | PPC Layer Up to 4" Thick : Providing and laying Plain Cement Concrete (PCC) of specified grade (e.g., M10 / 1:3:6) using approved materials, including mixing, laying, compaction, leveling, and finishing to required thickness as per drawings. | RO |  |  | 0
1.4 | plaster work : Providing and applying cement plaster of specified thickness (e.g., 12–15 mm) in cement mortar (1:4 / 1:6) on walls/ceilings, including surface preparation, scaffolding, leveling, and finishing to a smooth and even surface. | sq.ft | 911 |  | 0
1.5 | DEMOLITION & CARTING AWAY DEBRIES - Demolition as per site requirement if any, Removal of dabris during fit-out work by transport. All included | LS |  |  | 0
1.6 | Providing & fixing PVC & CPVC with all internal plumbing piping in pantry/ Washroom Make- Suprememe, Astral (Mens's washroom & Executive washroom) | Nos | 2 |  | 0
1.7 | Fitting of Wc with all fittings - Providing and fitting in position on site European style wall mounted ceramic W.Cs.with flush valve. Fitting to be complete with all drainage and water supply connections concealed. The item includes Jet sprey, angle coack, nahani trap, etc Brand - Sanitry fittings - vignette prime or eqv |  |  |  | 0
| Jaquar - LAS-WHT-91955P180UFSM | Nos | 1 |  | 0
| Jaguar - SLS-WHT-6955P180UFSM | Nos | 5 |  | 0
1.8 | Fitting of Urinals, bottle trap, complete with SENSOR - Providing and fitting in position on site large size wall mounted ceramic Urinals of ‘Hindustan make with built in sensor . With all drainage and water supply connections concealed. Brand - Jaguar - URS-WHT-13267 - Brand - Sanitry fittings - vignette prime or eqv | Nos | 3 |  | 0
1.9 | Fitting of Wash basin, bottle trap, complete - Providing and fitting in position on site under counter ceramic Wash Basin with all drainage and water supply connections concealed. Jaquar - LAS - LAS-WHT-91703 - Brand - Sanitry fittings - vignette prime or eqv | Nos | 5 |  | 0
1.1 | WASHROOM TILES : Providing and laying anti-skid floor tiles and glazed wall tiles of approved size, shade, and make in washrooms over prepared surface using tile adhesive, including proper slope towards drain, cutting, and alignment. BRAND NAME : Simpolo or eqv - Base price 65rs | sqft | 1373 |  | 0
1.11 | SPC 7mm vinyl FLOOR :providing and fixing 14mm thick enginner wood floor to be glue down on floor. Rate to include flat patti of similar colour shade. BRAND NAME : Aargil (Make in india or eqv) - Base price - 120 rs per sft | sq.ft | 642 |  | 0
1.12 | FLOOR TILE: Providing and laying ceramic/vitrified tiles of approved size, shade, and make on floors/walls over prepared surface using cement mortar or tile adhesive, including cutting, leveling, and finishing with proper alignment. BRAND NAME : Simpolo or eqv - Base price 65rs | sq.ft | 0 |  | 0
1.13 | FALSE FLOORING : Providing and installing raised access false flooring system with factory-finished panels metal supported on adjustable pedestals and stringers, including leveling, cutting for services, and edge trims as required. BRAND NAME : Tankaria or eqv - ht 300mm from ffl | sq.ft | 107 |  | 0
1.14 | Granite counter for Basin counter - 5' x 21" + 2' x 21" - Basic rate for granite - 150rs per sft. All Edges to be chemfered | LS | 1 |  | 0
| TOTAL |  |  |  |  | 0
2 | MODULAR & PARTITION WORK
2.1 | GLASS PARTITION - Providing and Fixing Modular single glass partition 25MM x 25MM system at Top, bottom and sides, Including 10MM Clear toughened glass, Including Gasket & Glass to glass vertical I, T & L joints to be stick by VHB tape, The profile will be 10-12mm Microns - Black anodized, Sound Transmission Loss of 32 DB approx.. Brand - Windor, vedic or eqv | Sqft | 855 |  | 0
2.2 | GYPSUM PARTITONS - Providing and fixing Gypsum partition with aluminum frame of 50x25mm with 1 layer of 12mm thk. Gypsum board from both the side till rcc ceiling, glasswool to befilled inside te partition for insulation. Rate to include ply fixing inside partition where tv to be mounted or painting to be fixed as per 3D. Brand - India Gypsum or eqv | Sqft | 1258.56 |  | 0
2.3 | Providing & Fixing 5' x 5'x 2' Modular office cubicle workstation comprising 19 mm pre-laminated particle board panels with 1 mm laminate finish on exposed surfaces and 0.8 mm internal finish, complete with 25 mm thick worktop finished in laminate with PVC edge banding, vertical and horizontal partitions of required height, provision for cable management grommets (manual flipper box), and necessary cut-outs; including under-desk storage (drawer pedestal/open shelves) as per layout, all hardware such as SS screws, connectors, brackets, and approved make accessories (Hettich/Ebco/eqv), complete in all respects as per approved drawings and site conditions. The cubicle to have acoustical PET penal above table top. Make- spacewood, VEDIC or eqv | Nos | 48 |  | 0
2.4 | 5''x 2' Cabin desk comprising MS frame structure made from 50x50 mm box sections (or equivalent) with black matte powder-coated finish, complete with 18 mm pre-laminated particle board appron 3 sides and 25 mm thick worktop finished with laminate and 2 mm PVC edge banding; including modesty panel/apron in matching finish, integrated side storage/return unit with drawers and shutters as per layout, cable management provisions (grommets/trays) with necessary cut-outs; bottom supported on PVC/nylon adjustable levelers; included pedestal (same as above specs with locks) all hardware including soft-close channels, hinges, locks, connectors, and fittings of approved make (Hettich/Hafele/Ebco), complete in all respects as per approved drawings and site conditions. Make- spacewood, VEDIC or eqv
| Size - 4'-6" x 2' (Back credenza included in modular storage) | Nos | 6 |  | 0
| Size - 7'-6'' x 3' (Back credenza included in modular storage) | Nos | 1 |  | 0
2.5 | Modular storage unit of 16” (400 mm approx.) depth & height varies from 27" to 48" in pre-laminated particle board (PLPB), comprising 18 mm thick carcass and shutters with external laminate finish and matching internal finish, complete with 18 mm thick adjustable shelves supported on SS shelf pins, 2 mm PVC edge banding on all exposed edges, 6 mm thick back panel, and lockable shutters; fitted with soft-close hinges, handles, and cam locks of approved make (Hettich/Hafele/Ebco); base supported on PVC/nylon adjustable levelers, complete in all respects as per approved drawings and site conditions. Make- spacewood, VEDIC or eqv | Sft | 612 |  | 0
2.6 | Same specs as above but without shutter - Pigon hole storage - Make- spacewood, VEDIC or eqv | Sft | 80 |  | 0
2.7 | Providing and fixing of white board writing paint on gypsum surface - Locally made | Sqft | 30 |  | 0
2.8 | Provide and fixing 50mm height with rubber bidding aluminium skirting on gypsum partiton. Brand - Windor / Vedic | rft |  |  | 0
| Meeting table & Conference Table | Nos | 1 |  | 0
Meeting table comprising 25 mm thick pre-laminated particle board (PLPB) top with 2 mm PVC edge banding, supported on MS understructure fabricated from 50x50 mm (or equivalent) box sections in ‘I’-frame configuration, finished in black matte powder coating; complete with modesty panel (if required), integrated cable management, and provision for pre-wired box including LC 404 model; base supported on PVC/nylon adjustable levelers; snake to be included to carry wires from floor, all hardware, connectors, and fittings of approved make, complete in all respects as per approved drawings and site conditions. Make- spacewood or eqv / Online instrument or eqv
2.9 | Size - 3' dia | Nos | 2 |  | 0
2.1 | Size - 5'-6'' X 3' | Nos | 1 |  | 0
2.11 | Conference room table - 23' X 4'6" (3 parts) | Nos | 1 |  | 0
2.12 | electrical shutters - 8' x 5'' Providing and installing approved size, design, and finish made of 25mm thk Prelam with edge banding as per drawings. Brand - Spacewood, VEDIC or onsite making as per design | Sqft | 40 |  | 0
2.13 | Temple Unit - 8' x 3' : Providing and installing temple of approved size, design, and finish made of plywood with laminate surface or Prelam board, including storage units and edge banding as per drawings. Brand - Spacewood, VEDIC or onsite making as per design | Nos | 1 |  | 0
2.14 | Façade - P&F PVC / Fiber louvers as per suggested design and pestd directly on marble surface. Brand - Spacewood, VEDIC or onsite making as per design | Sft | 60 |  | 0
2.15 | Reception table - 6' L x 2'6'' : Providing and installing reception table/counter of approved size, design, and finish made of plywood/MDF with laminate surface top, including storage units, modesty panels, and edge banding as per drawings. Brand - Spacewood, VEDIC or onsite making as per design | Nos | 1 |  | 0
2.16 | telephone booth - 7'-9" x 4'-4'' x 8' : Providing and installing acoustic telephone booth of approved size and design, comprising sound-insulated panels, glass door, ventilation system, and internal finishes as per drawings and specifications. rate to include 4 pax sofa seating, desk and electrical basic requirements- Brand - Spacewood, VEDIC or Eqv | Nos | 1 |  | 0
2.17 | urinal divider- 1'6''L x 3'-6''H : Providing and fixing urinal divider panels of approved size made from compact laminate/solid surface/toughened glass, including necessary brackets, supports, and edge finishing as per drawings. Brand: Jaquar , Greenlam | Nos | 3 |  | 0
2.18 | Vanity Storage below Basin - 2' x 1'-9" x 21" to be made from 18mm thk ply & finished with Laminate | Nos | 3 |  | 0
| TOTAL |  |  |  |  | 0
3 | CEILING WORKS
3.1 | Acoustical Grid ceiling : Acoustic suspended ceiling system comprising Ecophon Advantage™ E panels of size 1200 x 600 x 15 mm (or approved equivalent), manufactured from high-density glass wool with painted glass tissue finish in white (NCS S 0500-N), with tegular edge detail to achieve a recessed/invisible grid appearance; installed on Ecophon Connect grid system (T15/T24) of galvanized steel, suspended from soffit using adjustable hangers at required spacing; complete with main runners, cross tees, perimeter trims, and all necessary accessories; panels to be demountable for maintenance access. The system shall achieve sound absorption performance, light reflectance approx. 83%, humidity resistance up to 95% RH, fire classification A2-s1,d0, and overall system weight approx. 2.5 kg/m²; installation to be carried out as per manufacturer’s specifications and approved drawings, complete in all respects.. BRAND NAME: Stgobain - Ecophon. Note - all light gala cutout, ply box to fix round lights to be considrerd
| Advantage™ E - 0.9 NRC (For all cabin's, Recption, Meetings and conference room) | Sqft | 1800 |  | 0
| Opta - 0.8 - NRC (For Open office, Washrooms and Server room, etc) | Sqft | 3520 |  | 0
3.2 | PELMET : Providing and fixing pelmet in 18mm thk ply board with 4mm thk MDF with required framework for paint finish, including shaping, edge finishing, and provision for roller track as per design and drawings. | Rft | 425 |  | 0
3.3 | Pop punning on coloumn & Walls: Providing and applying POP punning (Plaster of Paris) of 2–3 mm thickness over plastered surfaces to achieve smooth, even finish, including surface preparation and necessary scaffolding. | Sqft | 2345 |  | 0
| TOTAL |  |  |  |  | 0
4 | LOOSE FURNITURE ITEMS (IN CLIENT'S SCOPE)
5 | DOORS
5.1 | STYLE Door -3' x 8' - SINGLE LEAF SINGLE GLASS STYLE DOOR- Providing and Fixing with Modular Single Leaf STYLE Door Black anodize 100MM x 42MM with 10MM Clear toughened glass with Door Hardware - Pelmet Arm Door Closer - hold open unit, Offset Handle 22MM x 300MM , Dead Lock with Cylinder 70MM (1 Side key 1 side knob), Door Hinges 5" 5x3x3MM 4 Nos.), Automatic Drop Down Seal, Including Aluminium Modular Door Frame, Make 25MM x 50MM profile, with Door Jam (Datta Patti) and Gasket Black anodize - (Hardware will be Silver) - hardware Hettich or modular company - Brand - Windor Or Vedic or eqv | Nos | 13 |  | 0
5.2 | PATCH FITTING DOOR - 3'-6" x 8' Providing and Fixing PATCH FITTING DOOR with 10MM Clear toughened glass with door hardwares - Top Patch, Bottom Patch Lock, Pivot, Floor Spring, H-Type 450MM ht Handle WITHOUT DOOR FRAME, (Hardware will be in black matt Powder coating finish) hardware Hettich or modular company - Brand - Windor Or Vedic or eqv | Nos | 1 |  | 0
Flush Doors
5.3 | Use existing 32mm flush door & modify with 1mm thk laminate finish from both sides,Door to have new conceal door closer, and hinges. Brand - Dorby mica, hardware Hettich or eqv - Brand - Windor Or Vedic or eqv | Nos | 4 |  | 0
5.4 | P&F New 32mm flush door & finish with 1mm thk laminate finish from both sides, all new hardwares. Door to have new conceal door closer, and hinges. Brand - Dorby mica, hardware Hettich or eqv | Nos | 1 |  | 0
5.5 | P&F New 32mm flush door & finish with 1mm thk laminate finish from both sides, all all new hardwares. Door to have 1' x 4' 6mm thk clear glass vision panel to be fixed with bidding patti. The door to be fixed on patch fitting. Brand - Dorby mica, hardware Hettich or eqv | Nos | 1 |  | 0
5.6 | Wooden door jamb/frame comprising of seasoned plywood of size 100 x 60 mm (or as per wall thickness), treated for anti-termite and moisture resistance, fixed to masonry with MS holdfasts at required intervals; complete with rebate for shutter, grooves for architrave, necessary spacers, packing, and sealing; finished with laminate as per design, inclusive of all hardware fixing provisions, complete in all respects as per approved drawings and site conditions. Brand - Dorbymica , hardware - herttic or eqv | RFT | 38.5 |  | 0
| TOTAL |  |  |  |  | 0
6 | PAINTING
6.1 | Luster Paint - wall and partition
| Approved Luster paint on walls including surface preparation, levelling 2 coats of putty, primer coats & minimum 3 coats of finish paint. Brand - Birla Opus or eqv | Sqft | 3330 |  | 0
6.2 | Zink Paint - on door edges | RFT | 120 |  | 0
| TOTAL |  |  |  |  | 0
7 | SOFT FURNISHING
7.1 | Providing and fixing mirror of approved size and thickness (5–6 mm) with polished edges, including necessary backing, adhesive, and support system as per drawings. Size- 2'x3' - Brand -St Gobain or eqv | NO'S | 3 |  | 0
7.2 | GLASS FILM : Providing and applying glass film of approved type (frosted/sun control/decorative) on glass surfaces, including cleaning, surface preparation, cutting, and installation free of bubbles and wrinkles as per design. Brand - Iprint or jasraj | Sqft | 535 |  | 0
7.3 | ROLLER BLINDER : Providing and fixing roller blinds of approved fabric, shade, and size with suitable aluminium headrail, roller mechanism, and brackets as per design and drawings. Brand - vista or eqv | Sqft | 1200 |  | 0
7.4 | VINYL GRAPHICS : Providing and applying self-adhesive vinyl graphics of approved design, colour, and finish on walls/glass surfaces, including surface preparation, cutting, and installation as per drawings. Brand - Iprint or jasraj | Sqft | 930 |  | 0
7.5 | BRAND Signage - Providing and fixing room name signage of approved size, design, and material (acrylic with UV coating) including lettering, graphics, and mounting system as per drawings. Brand - Iprint or jasraj - 5' x 2'6" | RO | 3 |  | 0
7.6 | Fire Exit Signage- Providing and fixing of Fire exit signage with self glow sheet Brand - Iprint or jasraj | RO | 6 |  | 0
| TOTAL |  |  |  |  | 0
8 | ELECTRICAL WORKS & CCTV WORKS
Brand - Regent lights or eqv - Switches & socets - Norisys basic series or eqv, CAT 6 - Dlink, MCB, DB, ETC - Indiasian / schneider or eqv, Wires - FRLS - polycab or eqv, Coundiats, junctions,, raceways - precision, jindal, or eqv
8.1 | Primary Light Point | Nos. | 42 |  | 0
8.2 | Secondary Light Point (looped from above Primary Point) | Nos. | 69 |  | 0
8.3 | 6Amp switch socket as half point on lighting switch board | Nos. | 8 |  | 0
8.4 | One circuit 2x1.5+1.0sq.mm in 20mm condt. | Mtrs. | 325 |  | 0
8.5 | One circuit 2x4+2.5sq.mm in 20mm condt. | Mtrs. | 215 |  | 0
8.6 | One circuit 2x6+4 sq.mm in 20mm condt. | Mtrs. | 175 |  | 0
8.7 | 8M box including 10A sockets -03 nos, 15A switch - 01 nos, | Nos. | 70 |  | 0
8.8 | 8M +4M +2mbox including 10A sockets -04 nos, 15A switch - 02 nos, HDMI socket - 01nos. | Nos. | 6 |  | 0
8.9 | 8M +6M box including 15A sockets -04 nos, 15A switch - 02nos, RJ45 socket - 01 nos and RJ11 socket - 01nos, HDMI socket - 01 nos. and VGA socket - 01 nos. | Nos. | 2 |  | 0
8.10 | 6M box including 10A sockets -02 nos, 15A switch - 01 nos. | Nos. | 20 |  | 0
8.11 | 6Amp, 5pin switch socket outlet on wall/Partition . | Nos. | 20 |  | 0
8.12 | 16Amp, 5pin switch socket outlet on wall/Partition . | Nos. | 5 |  | 0
8.13 | I/O socket for voice with plate, back box & required end termination at node end.Dlink make. | Nos. | 65 |  | 0
8.14 | Cat 6 data cable | Mtr | 6500 |  | 0
8.15 | I/O socket for Data with plate, back box & required end termination at node end.Legrand make. | Nos. | 75 |  | 0
8.16 | RG-6 CABLE for TV. | Mtr | 155 |  | 0
8.17 | I/O socket for T.V with plate, back box & required end termination at node end. Legrand make. | Nos. | 4 |  | 0
8.18 | SITC of HDMI Cable | Mtrs. | 40 |  | 0
8.19 | SITC of 100 pair Krone box for telephone | Nos. | 1 |  | 0
8.20 | SITC of 50 MM conduit for HDMI cables | Mtrs. | 65 |  | 0
8.21 | SITC of Main power DB, 6way ETPN DB for Lighting DB. Incomer : 40A, 100mA FP MCB , 2 pol RCBO - 3 nos. Outgoing: 10A-32A SP MCB - 18nos. | Nos. | 1 |  | 0
8.22 | SITC of Main power DB, 8way ETPN DB for UPS DB. Incomer :633A, 100mA FP MCB, 2 Pol RCBO - 03 nos. Outgoing: 16A-32A SP MCB - 24nos. | Nos. | 1 |  | 0
8.23 | SITC of Main power DB, 8 way ETPN DB for Row power DB. Incomer :63A, 100mA FP MCB, 2 Pol RCBO - 03 nos. Outgoing: 16A-32A SP MCB - 24nos. | Nos. | 1 |  | 0
8.24 | SITC of 300x50 GI RACE WAY | Mtr | 0 |  | 0
8.25 | SITC of 250x50 GI RACE WAY | Mtr | 0 |  | 0
8.26 | SITC of 200x50 GI RACE WAY | Mtr | 0 |  | 0
8.27 | SITC of 150x50 GI RACE WAY | Mtr | 30 |  | 0
8.28 | SITC of 100x50 GI RACE WAY | Mtr | 50 |  | 0
8.29 | SITC of 50x50 GI RACE WAY | Mtr | 85 |  | 0
8.30 | SITC of 350x350x50 GI JUCTION BOX | Nos. | 0 |  | 0
8.31 | SITC of 300x300x50 GI JUCTION BOX | Nos. | 12 |  | 0
8.32 | SITC of250x250x50 GI JUCTION BOX | Nos. | 25 |  | 0
8.33 | SITC of 200X200x50 GI JUCTION BOX | Nos. | 25 |  | 0
8.34 | SITC of 150X150x50 GI JUCTION BOX | Nos. | 25 |  | 0
8.35 | SITC of 25 mm pvc coduis | Mtr | 200 |  | 0
8.36 | Arranging temporary power & Lighting for all agencies to work including suitable protection through MCBs/ELCBs/MCCBs & wiring & cabling.Testing of the installation & preparation of test report and drawings etc. | LS | 1 |  | 0
8.37 | Supply, Installation of 18W, 4000k LEDlight fixture. | Nos | 56 |  | 0
8.38 | Supply, Installation of 12W, 4000k LEDlight fixture. | Nos. | 18 |  | 0
8.39 | Led Tubelight 4000k | Nos. | 0 |  | 0
8.40 | Supply and installation of 75mm x 1200 surface mounted linear lights. | No. | 59 |  | 0
8.41 | Supply and installation of suspended decorative light - 1200mm wide | Nos. | 4 |  | 0
8.42 | grid panel light - 600x 600 | Nos. | 4 |  | 0
8.43 | 4MP Dome with 30m IR - Brand CP+ or eqv | Nos | 12 |  | 0
8.44 | 8 Channel NVR with 2 SATA HDD | Nos | 1 |  | 0
8.45 | 8 Channel POE Switch | Nos | 1 |  | 0
8.46 | CAT6 Cable | Mtr | 150 |  | 0
8.47 | 4U Rack | Nos | 1 |  | 0
8.48 | Systems configuration charges | Nos | 1 |  | 0
8.49 | D link RJ45 connectors | Nos | 20 |  | 0
8.50 | 4 x 4 mounting Box | No. |  |  | 0
8.51 | exhaust System for washrooms with CFM ducts, grills | No. | 9 |  | 0
8.52 | AV system for conference & 2 meeting rooms. Conference reoom to have sharing mic on table top. | No. | 3 |  | 0
Supply, installation, testing, and commissioning of complete video conferencing system for meeting/board room comprising 4K LED display panel, PTZ/wide-angle conference camera with auto framing and tracking, tabletop microphones with echo and noise cancellation as per drawing, integrated soundbar system, mini PC/VC processor compatible with Zoom/MS Teams/Google Meet platforms, wireless presentation sharing device, HDMI and USB-C connectivity ports, required network integration, power and data cabling, cable management accessories, mounting brackets, and all allied hardware/software; complete with configuration, testing, and seamless integration for audio-visual communication, as per approved makes, drawings, and site requirements, complete in all respects Brand - Plus india, beyondallaince or eqv
| TOTAL |  |  |  |  | 0
9 | NETWORK CABLE
9.1 | P&F cat 6 networking cable with pvc conduts for VOICE AND DATA OF DLINK CO (1 data and 1 voice at each workstation and each TRG room, meeting room server room) | Nos | 60 |  | 0
9 | P& f face plates for io points of DLINK CO | Nos | 120 |  | 0
9.3 | ALL THE WIRES FROM THE WORKSTATION WILL BE TERMINATED AT SERVER ROOM ( with Complete punching/termination on IO and patch panel )
9.4 | Providing & f ixing 24 port patch panel of DLINK CO | Nos | 120 |  | 0
9.5 | PRE WIRED BOX | Nos | 3 |  | 0
9.6 | 42U Server rack with patch panel | Nos | 3 |  | 0
| TOTAL |  |  |  |  | 0
10 | HVAC
HVAC - Brand MIDEA - Machines should be compitible with AHU & chillar plant
10.1 | Providing and Installtion of CASSETE AC with complete copper pipiping, drain piping etc. Make- Midea (1.0TR) - ONE WAY | Nos | 8 |  | -
10.2 | Providing and Installtion of CASSETE AC with complete copper pipiping, drain piping etc. Make- Midea (1.5TR) ONE WAY | RO | 1 |  | -
10.3 | Providing and Installtion of CASSETE AC with complete copper pipiping, drain piping etc. Make- Midea (1.5TR) FOUR WAY | Nos | 2 |  | -
10.4 | Providing and Installtion of CASSETE AC with complete copper pipiping, drain piping etc. Make- Midea (2.5 TR) FOUR WAY | Nos | 7 |  | -
10.5 | SPLIT A/C ( Midea 1 ton ) - stand alone unitsinddor + outdoor) for Server room, rate to include stand as well. | Nos | 2 |  | -
10.6 | HVAC system comprising Chiller Plant, AHUs, Cassette Units, and Split AC with ODU Units shall be provided with 1-year comprehensive warranty from the date of commissioning, covering all equipment, accessories, servicing, and breakdown support. Post completion of warranty period, the contractor/vendor shall provide an additional 4-year Annual Maintenance Contract (AMC) for the complete HVAC system. Scope of AMC shall include routine preventive maintenance, inspection, servicing, testing, troubleshooting, and breakdown support for all HVAC equipment; including cleaning of filters, coils, drain trays and pipelines, checking electrical connections, lubrication, refrigerant pressure checks, calibration of controls and thermostats, servicing of pumps, motors, AHUs, and all indoor/outdoor units; along with manpower, tools, tackles, consumables for routine maintenance, emergency breakdown attendance, and submission of maintenance reports/logbooks, complete in all respects as per manufacturer recommendations and site requirements. | Nos | 20 |  | -
| TOTAL |  |  |  |  | 0
11 | EXISTING SPRINKLAR & SMOKE DETECTOR INSTALLATION BELOW CEILING
11.1 | SPRINKLERS providing downward sprinklers below the false ceiling , (Existing piping will be used) kindky use white cap for bottom of sprinklar head to cover the nozzle | LS |  |  | 0
11.2 | SMOKE DETECTORS providing & fixing smoke detectors below the ceiling with panels & hooters connected to it (Including the fire panel) | LS |  |  | 0
11.3 | Hooter, Panel & Screen | LS |  |  | 0
| TOTAL |  |  |  |  | 0
12 | ACCESSS CONTROL WORK - ASSA or eqv
12.1 | Standalone biometric reader (MAI ENTRACE, EXITS, SERVER AREA) | Nos | 4 |  | 0
12.2 | Exit Switch | Nos | 5 |  | 0
12.3 | Single door magnet with L & u bracket | Nos | 4 |  | 0
12.4 | Entry cards | RO | 2 |  | 0
| TOTAL |  |  |  |  | 0

## Sheet1 (hidden)
PROJECT
Interiors of office for HSBC BANK
CLIENT
HSBC BANK
DATE | 26.09.23
Document | Measurement Sheet - Interior Works
S.No | ITEM | No | Length | Height | Quantity
1.0 LOOSE & FIXED FURNITURE:
1.1 | Reception table - 8' L x 2' D x 2'-6" H | 1 | 8 | 2 | 16
Design intensive wrap around apron and design ledge
Constructing, placing and fixing reception table on site as specified in the drawings.
(a)Construction:
i) Constructed from first grade hardwood Commercial plywood of requisite thickness. Anti - termite treatment applied on plywood before application of finishing material.
ii ) Apron of reception table constructed in hardwood commercial ply of requisite thickness.
(b)Finishing:
i) Top, side,ledge, trolley and edge profile is finished in Duco paint of approved color.
iii) All internal surfaces finished in 1mm thk laminate.
(c)Hardware:
i) Hettich, Hafelle ( or equivalent as approved by the architect) telescopic channels and hinges.
ii) Coordinated high quality brushed steel finish pull handles / Knobs, Locks, Wire manager ( Kich /Dunex or equivalent as approved by the architect)
1.2 | L - shaped workstations in office area - 3'3"x2'3"+5'x2'3" with pedestal | 4 |  |  | 4
1.3 | Running counters in office area - 4' x 2' with pedestal | 40 |  |  | 40
1.4 | CIO cabin Desk- 7'6" X 2'8" X 2'6" with pedestal | 1 |  |  | 1
1.5 | Board room table - 22'8" X 5'3" X 2'6" | 1 | 22.67 | 5.25 | 119.0175
1.6 | meeting room table - 10' X 4' X 2'6" | 1 | 10 | 4 | 40
1.8 | meeting room 2 table -5' X 2'6" X 2'6" | 1 | 5 | 2.5 | 12.5
1.9 | meeting room 3 table - 7' X 4'5" X 2'6" | 1 | 7 | 4.41 | 30.87
1. 10 | meeting room 4 table - radius - 2.58 | 1 |  |  | 1
Constructing, placing and fixing table on site as specified in the drawings.
(a)Construction:
i) Constructed from first grade hardwood Commercial plywood of requisite thickness. Anti - termite treatment applied on plywood before application of finishing material.
(b)Finishing:
i) Top of table, edges finished in 2- 3 coats of duco paint in approved color with additional 2 layers of PU coat.
1.11 | CXO cabin Desk- 7'6" X 2'7" X 2'6" with pedestal | 1 |  |  | 1
| Side credenza | 1 | 3.5 | 1.33 | 4.655
1.12 | Storage cabinets in open office | 2 | 4 | 1.5 | 12
(a)Construction:
i) Constructed from first grade hardwood Commercial plywood of requisite thickness. Anti - termite treatment applied on plywood before application of finishing material.
(b) Finishing:
i) Top and edges finished in 2- 3 coats of duco paint in approved color with additional 2 layers of PU coat.
( c ) Hardware
i) Coordinated high quality brushed steel finish pull handles / Knobs, Locks, ( Kich /Dunex or equivalent as approved by the architect)
ii) FGV Hettich, ‘Earl – Bihari’ or any equivalent brand spring loaded hinges.
1.0PARTIOTNS :
1.1 | Full ht.Opaque partitions.
(a)Construction:
P/F full height opaque partitions constructed in 2" x 2" saalwood framework clad on both sides with 12 mm thick MDF/ plywood .
(b)Finishing:
Finished in 1 mm thick laminate of approved color and shade.
(b)Finishing:
Finished in 1 mm thick laminate of approved color and shade from one side and one side in paint.
(b)Finishing:
Finished in approved veneer from both sides. Basic price of veneer @Rs. 80 / sq.ft
(b)Finishing:
Finished in approved veneer from one side and laminate from other.
(b)Finishing:
Finished in paint from both sides.
| P1 | 1 | 3.25 | 11.75 | 38.1875
| P2 | 1 | 4.5 | 11.75 | 52.875
| P3 | 1 | 8.75 | 11.75 | 102.8125
| P4 | 1 | 20.5 | 11.75 | 240.875
| P6 | 1 | 13.25 | 11.75 | 155.6875
| P7 | 1 | 4.33 | 11.75 | 50.8775
| P15 | 2 | 12.66 | 11.75 | 297.51
| P16 | 1 | 9 | 11.75 | 105.75
| P17 | 1 | 15.44 | 11.75 | 181.42
| P18 | 1 | 9 | 11.75 | 105.75
| P19 | 1 | 3.5 | 11.75 | 41.125
| P20 | 1 | 4 | 11.75 | 47
| P24 | 1 | 11.16 | 11.75 | 131.13
| P25 | 1 | 4.58 | 11.75 | 53.815
| P26 | 1 | 2.75 | 11.75 | 32.3125
| P27 | 1 | 6 | 11.75 | 70.5
| P28 | 1 | 14.66 | 11.75 | 172.255
| P29 | 1 | 6.25 | 11.75 | 73.4375
| P30 | 1 | 13.25 | 11.75 | 155.6875
| P31 | 3 | 6.16 | 11.75 | 217.14
| P32 | 1 | 3.33 | 11.75 | 39.1275
| P33 | 1 | 4.83 | 11.75 | 56.7525
TOTAL |  |  |  |  | 2422.0275
1.2 | Full ht.glazzed partitions.
Providing and fixing on site full height glazed partition constructed in 12 mm thick glass fixed in TW beading on top and C - channel in the floor.
| P8 | 1 | 16.083 | 9.75 | 156.8092
| P9 | 1 | 5.75 | 9.75 | 56.0625
| P5 | 1 | 12.5 | 9.75 | 121.875
| P10 | 1 | 2.5 | 9.75 | 24.375 |  | 0
| P11 | 1 | 22.25 | 9.75 | 216.9375
| P12 | 1 | 1.16 | 9.75 | 11.31
| P13 | 1 | 10.66 | 9.75 | 103.935
| P14 | 1 | 8.41 | 9.75 | 81.9975
| P21 | 1 | 1.58 | 9.75 | 15.405
| P22 | 1 | 17.16 | 9.75 | 167.31
| P23 | 1 | 8.53 | 9.75 | 83.1675
TOTAL |  |  |  |  | 1039.1842
1.3 | opaque below false ceiling.
(a)Construction:
P/F 3" thk partition wall comprising of 8 mm first grade Hardwood Commercial plywood (Anchor/ Century or equivalent , as per the architects approval) fixed on 2"X2" ‘Saal’ wood framework with 50mm thk mineral glass wool insulation of grade specified by architect from finished false ceiling to bottom of slab. (rate inclusive of GI corner beeds, hardwoods scentelling and other GI accessories ready to receive finish )Note:Bottom of slab is app +11'.0": Anti – termite treatment applied to wooden battens before finishing.
| P8 | 1 | 16.083 | 2 | 32.166
| P9 | 1 | 5.75 | 2 | 11.5
| P5 | 1 | 12.5 | 2 | 25
| P10 | 1 | 2.5 | 2 | 5
| P11 | 1 | 22.25 | 2 | 44.5
| P12 | 1 | 1.16 | 2 | 2.32
| P13 | 1 | 10.66 | 2 | 21.32
| P14 | 1 | 8.41 | 2 | 16.82
| P21 | 1 | 1.58 | 2 | 3.16
| P22 | 1 | 17.16 | 2 | 34.32
| P23 | 1 | 8.53 | 2 | 17.06
TOTAL |  |  |  |  | 213.166
3.0 DOORS :
3.1 | GLASS DOOR
Constructing on site door of 8'.0" height comprising of 12mm toughened glass with necessary hardware including ‘Hemco’ floor spring, brushed steel handle, of Kich /Dunex ’Godrej’ brushed steel finish daed lock or equivalent brand.
| GD1 | 5 | 3 | 8 | 120
3.2 | TEAKWOOD DOOR
thk flush door.
Constructing on site 8'.0" height flushed door comprising of 1-1/2 " thk. block board finished in 1 mm thk. Laminate having a with T.W. edging finished in melamine polish, with necessary hardware including hinges ,tower bolts,brushed steel handle, floor spring or door closer to make the door operational as per drawing.
| D1 | 15 | 3 | 8 | 360
3.3 | WOODEN DOOR FRAME
Providing and fixing on site 3" x 2" thick teak wood frame for flushed door as may be required, finished in 2-3 coats of melamine polish or duco paint
| D1 | 15 | 3 | 8 | 360
3.0 CHAIRS :
4.1 | CONFRENCE ROOM CHAIR | 22 |  |  | 22
Board room chairs: Ergonomic office chair having 360 degree swivel, upholstered in faux leather having high backrest, and wide seat with extra-thick cushions, plus multifunction controls to modify the angle of the back and control the tilt, forward ti
4.2 | MEETING ROOM CHAIRS | 30 |  |  | 30
MEETING room chairs: Ergonomic office chair having 360 degree swivel, upholstered in faux leather having high backrest, and wide seat with extra-thick cushions, plus multifunction controls to modify the angle of the back and control the tilt, forward ti
4.3 | WORKSTATION CHAIR | 40 |  |  | 40
workstation chairs. Stackable bent plywood chairs in beech finish and clear PU finish on tubular m.s frame with chrome finish
4.3 | CAFÉ CAIRS | 12 |  |  | 12
4.4 | RECEPTION CHAIR | 1 |  |  | 1
4.5 | L SHAPE WORKSTATION CHAIR | 4 |  |  | 4
4.6 | CIO CABIN CHAIR | 4 |  |  | 4
4.7 | CXO CABIN CHAIR | 4 |  |  | 4
5.0 POP PUNNING :
1 | W1 | 1 | 4.91 | 11.09 | 54.4519
2 | W2 | 1 | 6.57 | 11.09 | 72.8613
3 | W3 | 1 | 10.5 | 11.09 | 116.445
4 | W4 | 1 | 20.5 | 11.09 | 227.345
5 | W5 | 2 | 13.5 | 11.09 | 299.43
6 | W6 | 2 | 3.66 | 11.09 | 81.1788
7 | W7 | 1 | 2.16 | 11.09 | 23.9544
8 | W8 | 1 | 4.25 | 11.09 | 47.1325
9 | W9 | 1 | 3.5 | 11.09 | 38.815
10 | W10 | 1 | 1.5 | 11.09 | 16.635
11 | W11 | 1 | 5 | 11.09 | 55.45
12 | W12 | 1 | 3 | 11.09 | 33.27
13 | W13 | 2 | 5.33 | 11.09 | 118.2194
14 | W14 | 1 | 3.91 | 11.09 | 43.3619
15 | W15 | 1 | 5 | 11.09 | 55.45
16 | W16 | 2 | 2.66 | 11.09 | 58.9988
17 | W17 | 2 | 7.5 | 11.09 | 166.35
18 | W18 | 2 | 3.66 | 11.09 | 81.1788
19 | W19 | 1 | 4.16 | 11.09 | 46.1344
20 | W20 | 1 | 6.83 | 11.09 | 75.7447
21 | W21 | 1 | 4.58 | 11.09 | 50.7922
22 | W22 | 2 | 2.16 | 11.09 | 47.9088
23 | W23 | 2 | 15.83 | 11.09 | 351.1094
24 | W24 | 1 | 7.41 | 11.09 | 82.1769
25 | W25 | 1 | 12 | 11.09 | 133.08
26 | W26 | 1 | 4.58 | 11.09 | 50.7922
27 | W27 | 1 | 4.75 | 11.09 | 52.6775
28 | W28 | 1 | 12.5 | 11.09 | 138.625
29 | W29 | 1 | 8.25 | 11.09 | 91.4925
30 | W30 | 2 | 5.58 | 11.09 | 123.7644
31 | W31 | 1 | 3.33 | 11.09 | 36.9297
32 | W32 | 1 | 1.83 | 11.09 | 20.2947
33 | W33 | 2 | 3.75 | 11.09 | 83.175
34 | W34 | 1 | 4 | 11.09 | 44.36
35 | W35 | 1 | 2.91 | 11.09 | 32.2719
36 | W36 | 1 | 2.25 | 11.09 | 24.9525
37 | W37 | 2 | 11.16 | 11.09 | 247.5288
38 | W38 | 2 | 16 | 11.09 | 354.88
39 | W39 | 1 | 10.66 | 11.09 | 118.2194
40 | W40 | 1 | 1.58 | 11.09 | 17.5222
41 | W41 | 2 | 7.16 | 11.09 | 158.8088
42 | W42 | 2 | 8.58 | 11.09 | 190.3044
43 | W43 | 2 | 4.58 | 11.09 | 101.5844
44 | W44 | 2 | 9.66 | 11.09 | 214.2588
45 | Plaster Work |  |  |  | 733
5.3 | WALL PUNNING | 1 |  |  | 17.5222
| TOTAL |  |  |  | 5230.4386 | SQ.FT
6.0 TOILET WORK AND CIVIL WORK :
(washroom fittings )
Labour for Executive toilet plumbing includes laying all water supply and drain pipes for wash basin, urinal, WC and shower in concealed pvc pipes of circular dia as required.
Labour for Staff toilet includes laying all water supply and drain connection for wash basin, urinal, and WC in concealed pvc pipes with circular dia as required.
Labour for Pantry includes laying all water supply and drain connection for sink and water purifier in concealed pvc pipes with circular dia as required.
6.1 | Fitting of wc | 5 |  |  | 5
Providing and fitting in position on site European style wall mounted ceramic W.Cs.with flush valve. Fitting to be complete with all drainage and water supply connections concealed.
Brand - Jaguar Fusion ( Vignette ) Approx cost.
6.2 | Providing and fixing health faucet with concealed water supply pipe. | 5 |  |  | 5
6.3 | water taps. | 5 |  |  | 5
Providing and fixing in place ‘Artize’make Signac series’ chrome plated water taps at position shown in drawing with concealed water connection.
6.4 | nanhi trap | 5 |  |  | 5
Providing and fixing in place chrome plated cover and ‘nahani’ traps at position as shown in drawing with concealed drainage to main pipe as shown in drawing
6.5 | Fitting of Urinals, bottle trap | 7 |  |  | 7
Providing and fitting in position on site large size wall mounted ceramic Urinals of ‘Hindustan make with built in sensor . With all drainage and water supply connections concealed. Make Senso urinal - 60007 ( Approx costing )
6.6 | Fitting of Wash basin, bottle trap | 3 |  |  | 3
Fitting of Wash basin, bottle trap, complete .in executive toilet.
Providing and fitting in position on site counter mounted ceramic Wash Basin with all drainage and water supply connections concealed.
Brand - Jaguar
6.7 | Fitting of steel sink in pantry. | 1 |  |  | 1
Providing and fixing on site steel sink of size 18” x 18” x 1 No of ‘Nirali’ brand on granite counter in pantry with ‘Jaquar’ ‘Florentine series’ chrome plated water taps at position shown in drawing with concealed water connection in place and ‘jaquar’ chrome plated bottle trap at position shown in drawing.( Approx costing )
6.9 | mirrior in toilet
| mens wahroom | 1 | 8.33 | 5 | 41.65
| womnes washroom | 1 | 8.33 | 5 | 41.65
| exicutive washroom | 1 | 8.33 | 5 | 41.65
| TOTAL |  |  |  | 124.95
6. 10 | Construction of 4” thick siporex wall.
| wall 1 | 2 | 8.53 | 11.75 | 200.455
| wall2 | 2 | 7.083 | 11.75 | 166.4505
Providing and erecting 4" thk siporex wall wall in cement and sand mortar 1:3 with flush joint complete with material, labour, scaffolding, curing etc. . (Excluding plastering).
| TOTAL |  |  |  | 366.9055
6.11 | Plaster work
P/A 1:4 cement plaster with waterproofing compound to brick work in single coat of avg 3/4 " thick finished to receive plaster of paris leveling coat.
| same as 4" thick siporex wall | 2 | 366.91 |  | 733.82
TOTAL |  |  |  |  | 733.82
6.12 | Waterproofing
P/A waterproofing treatment for toilets , pantry counter which includes cement plaster in 1:3 with water proofing compound, finished with neat cement in floor upto 3'-0"ht dado.including curing P/L brickbat coba upto 4" thk in 1:4 over the above plaster incl finishing the top surface to receive the floor tiles Measurements of floor area shall only be considered for said works.
| womens washroom | 1 | 15.5 | 10.56 | 163.68
| wall { ht } | 1 | 163.68 | 3 | 491.04
| mens washroom | 1 | 16 | 11.58 | 185.28
| wall { ht } | 1 | 185.28 | 3 | 555.84
| Excutive washroom | 1 | 15.16 | 6 | 90.96
TOTAL |  |  |  |  | 1486.8
6.13 | PCC LAYER
| PPC1 | 1 | 58.66 | 20 | 1173.2
| PPC2 | 1 | 57.58 | 18 | 1036.44
| PPC3 | 1 | 37.83 | 20.33 | 769.0839
| PPC4 | 1 | 9.58 | 13.25 | 126.935
| PPC5 | 1 | 37.83 | 20.5 | 775.515
| PPC6 | 1 | 21.33 | 10 | 213.3
| PPC7 | 1 | 19.25 | 19.66 | 378.455
TOTAL |  |  |  |  | 4472.9289
6.14 | IPC LAYER
| IPC1 | 1 | 58.66 | 20 | 1173.2
| IPC2 | 1 | 57.58 | 18 | 1036.44
| IPC3 | 1 | 37.83 | 20.33 | 769.0839
| IPC4 | 1 | 9.58 | 13.25 | 126.935
| IPC5 | 1 | 37.83 | 20.5 | 775.515
| IPC6 | 1 | 21.33 | 10 | 213.3
| IPC7 | 1 | 19.25 | 19.66 | 378.455
TOTAL |  |  |  |  | 4472.9289
7.0 FLOORING :
Providing and laying on site homogeneous fully vitrified tile flooring in approved colour . Basic cost of tile Rs.-
7.1 | Vetrified Tiles
| womens washroom | 1 | 15.5 | 10.56 | 163.68
| mens washroom | 1 | 16 | 11.58 | 185.28
| exictuve washroom | 1 | 15.16 | 6 | 90.96
| IPC Layer | 1 | 4472.9289 |  | 4472.9289
TOTAL |  |  |  |  | 4912.8489
9.0 MISCELLANEOUS :
9.1 | Venetian blinds
| Window 1 | 1 | 14.66 | 11.58 | 169.7628
| Window 2 | 1 | 17.33 | 11.58 | 200.6814
| Window 3 | 1 | 17.58 | 11.58 | 203.5764
| Window 4 | 1 | 17.33 | 11.58 | 200.6814
| Window 5 | 1 | 17.16 | 11.58 | 198.7128
TOTAL |  |  |  |  | 973.4148
9.2 | Application of frosted glass film on glass partitions.
| P8 | 1 | 16.083 | 4 | 64.332
| P9 | 1 | 5.75 | 4 | 23
| P5 | 1 | 12.5 | 4 | 50
| P10 | 1 | 2.5 | 4 | 10
| P11 | 1 | 22.25 | 4 | 89
| P12 | 1 | 1.16 | 4 | 4.64
| P13 | 1 | 10.66 | 4 | 42.64
| P14 | 1 | 8.41 | 4 | 33.64
| P21 | 1 | 1.58 | 4 | 6.32
| P22 | 1 | 17.16 | 4 | 68.64
| P23 | 1 | 8.53 | 4 | 34.12
TOTAL |  |  |  |  | 185.36
9.3 | Glass White-Board
| meeting room | 6 | 6 | 3 | 108
| workstation area | 40 | 4 | 1.5 | 240
Providing and fixing on site 12 mm thick frosted glass white board on site. Frosted side of glass to be finished in one coat of white luster paint.
36" x 94"
9.4 | Louvered aluminum windows for toilets
Providing and fixing on site 6 mm thick frosted glass louvered windows in aluminum sections.
Provision to be made for fixing exhaust fan of size 1’ x 1’ in aluminum framework.
9.5 | Sofa
| 3 + 2 seater round sofa | 5 |  |  | 5
| lounge chairs | 5 |  |  | 5
| center table | 3 |  |  | 3
| TOTAL |  |  |  | 13
9.6 | landscaping
Pots and Plants: Providing and placing on site assorted natural/ artificial plants of heights 3’ & 4’ of fern, palm and broad-leafed variegated varieties including soil, compost, plastic container, drip tray etc.
Pots and Plants: Providing and placing on site assorted natural/ artificial plants of heights 5’ & 6’ of fern, palm and broad-leafed variegated varieties including soil, compost, plastic container, drip tray etc.
9.7 | Providing & Fixing of Aluminium Window finished in anodizing
| mens washroom | 1 | 2 | 4 | 8
| womens washroom | 1 | 2 | 4 | 8
| TOTAL |  |  |  | 16
9.8 | panneling in reception area | 1 | 13.33 | 11.53 | 153.6949
9.9 | vinyl poster
| pillar | 21 | 2 | 11.53 | 484.26
9.1 | foldable door in meeting room | 1 | 12.5 | 10.53 | 131.625

## BOQ - 29 NOV (hidden)
Interiors of office for HSBC BANK
DATE | 30.11.23
Document | BOQ - Interior Works
S.No | Description | Unit | Quantity | Rate | Amount | Remarks
CIVIL WORK
1.1 | waterproofing treatment for toilets , pantry counter which includes cement plaster in 1:3 with water proofing compound, finished with neat cement in floor upto 3'-0"ht dado.including curing P/L brickbat coba upto 4" thk in 1:4 over the above plaster incl finishing the top surface to receive the floor tiles Measurements of floor area shall only be considered for said works. | Sqft | 1640 |  | 0
1.2 | Providing and erecting 4" thk siporex wall wall in cement and sand mortar 1:3 with flush joint complete with material, labour, scaffolding, curing etc. . (Excluding plastering). | sq.ft | 400 |  | 0
1.3 | Providing and laying on site homogeneous fully vitrified tile flooring in approved colour . Basic cost of tile Rs.- 100rs per sft | sq.ft | 5400 |  | 0
1.4 | PPC Layer | sq.ft | 4470 |  | 0
1.5 | IPC Layer | sq.ft | 4920 |  | 0
1.6 | plaster work | sq.ft | 810 |  | 0
1.7 | Providing & fixing 19mm thick black granite stone over pantry counter with moulded / double polished front & drip mould over cabinatery.stone to have cutting for sink silicon on wall and &sink to be placed under the counter | RFT | 18 |  | 0
TOTAL OF CIVIL
PLUMBING WORK
2.1 | Labour for Executive toilet plumbing includes laying all water supply and drain pipes for wash basin, urinal, WC and shower in concealed pvc pipes of circular dia as required. | LS
2.2 | Labour for Staff toilet includes laying all water supply and drain connection for wash basin, urinal, and WC in concealed pvc pipes with circular dia as required. | LS
2.3 | Labour for Pantry includes laying all water supply and drain connection for sink and water purifier in concealed pvc pipes with circular dia as required. | LS
2.4 | Fitting of wc Inclusive of all fitting | Nos | 5
Providing and fitting in position on site European style wall mounted ceramic W.Cs.with flush valve. Fitting to be complete with all drainage and water supply connections concealed.
Brand - Jaguar Fusion ( Vignette ) Approx cost.
2.5 | nanhi trap Inclusive of all fitting | Nos | 10
Providing and fixing in place chrome plated cover and ‘nahani’ traps at position as shown in drawing with concealed drainage to main pipe as shown in drawing
2.6 | Fitting of Urinals, bottle trap Inclusive of all fitting | Nos | 2
Providing and fitting in position on site large size wall mounted ceramic Urinals of ‘Hindustan make with built in sensor . With all drainage and water supply connections concealed. Make Senso urinal - 60007 ( Approx costing )
2.7 | Fitting of Wash basin, bottle trap, complete | Nos | 3
Providing and fitting in position on site counter mounted ceramic Wash Basin with all drainage and water supply connections concealed.
2.8 | Fitting of steel sink in pantry | Nos | 1
Providing and fixing on site steel sink of size 18” x 18” x 1 No of ‘Nirali’ brand on granite counter in pantry with ‘Jaquar’ ‘Florentine series’ chrome plated water taps at position shown in drawing with concealed water connection in place and ‘jaquar’ chrome plated bottle trap at position shown in drawing.( Approx costing )
| TOTAL OF plumbing |  |  |  | 0
CARPENTRY & JOINERY WORK
3 | Carpentry (Made In prelam board)
| Reception table - 8' L x 2' D x 2'-6" H with pedestal | Sqft | 17
| L - shaped workstations - 3'3"x2'3"+5'x2'3" with pedestal | no.s | 4
| Running counters in office area - 4' x 2' with pedestal | no.s | 40
| CIO cabin Desk- 7'6" X 2'8" X 2'6" with pedestal | no.s | 1
| Board room table - 22'8" X 5'3" X 2'6" | sq.ft | 130
| meeting room table - 10' X 4' X 2'6" | sq.ft | 44
| meeting room 2 table -5' X 2'6" X 2'6" | sq.ft | 14
| meeting room 3 table - 7' X 4'5" X 2'6" | sq.ft | 33
| meeting room 4 table - radius - 2.58 | no.s | 1
Constructing, placing and fixing table on site as specified in the drawings.
(a)Construction:
i) Constructed from first grade hardwood Commercial plywood of requisite thickness. Anti - termite treatment applied on plywood before application of finishing material.
(b)Finishing:
i) Top of table, edges finished in 2- 3 coats of duco paint in approved color with additional 2 layers of PU coat.
| CXO cabin Desk- 7'6" X 2'7" X 2'6" with pedestal | no.s | 1
| Storage cabinets in open office | sq.ft | 13
(a)Construction:
i) Constructed from first grade hardwood Commercial plywood of requisite thickness. Anti - termite treatment applied on plywood before application of finishing material.
(b) Finishing:
i) Top and edges finished in 2- 3 coats of duco paint in approved color with additional 2 layers of PU coat.
( c ) Hardware
i) Coordinated high quality brushed steel finish pull handles / Knobs, Locks, ( Kich /Dunex or equivalent as approved by the architect)
ii) FGV Hettich, ‘Earl – Bihari’ or any equivalent brand spring loaded hinges.
1.12 | Full ht.Opaque partitions. | sq.ft | 2660
(a)Construction:
P/F full height opaque partitions constructed in 2" x 2" saalwood framework clad on both sides with 12 mm thick MDF/ plywood .
(b)Finishing:
Finished in 1 mm thick laminate of approved color and shade.
(b)Finishing:
Finished in 1 mm thick laminate of approved color and shade from one side and one side in paint.
(b)Finishing:
Finished in approved veneer from both sides. Basic price of veneer @Rs. 80 / sq.ft
(b)Finishing:
Finished in approved veneer from one side and laminate from other.
(b)Finishing:
Finished in paint from both sides.
1.13 | Full ht.glazzed partitions. | sq.ft | 1140
Providing and fixing on site full height glazed partition constructed in 12 mm thick glass fixed in TW beading on top and C - channel in the floor.
1.14 | opaque below false ceiling. | sq.ft | 230
(a)Construction:
P/F 3" thk partition wall comprising of 8 mm first grade Hardwood Commercial plywood (Anchor/ Century or equivalent , as per the architects approval) fixed on 2"X2" ‘Saal’ wood framework with 50mm thk mineral glass wool insulation of grade specified by architect from finished false ceiling to bottom of slab. (rate inclusive of GI corner beeds, hardwoods scentelling and other GI accessories ready to receive finish )Note:Bottom of slab is app +11'.0": Anti – termite treatment applied to wooden battens before finishing.
1.15 | Glass Door | sq.ft | 132
Constructing on site door of 8'.0" height comprising of 12mm toughened glass with necessary hardware including ‘Hemco’ floor spring, brushed steel handle, of Kich /Dunex ’Godrej’ brushed steel finish daed lock or equivalent brand.
1.16 | TEAKWOOD DOOR | sq.ft | 396
Constructing on site 8'.0" height flushed door comprising of 1-1/2 " thk. block board finished in 1 mm thk. Laminate having a with T.W. edging finished in melamine polish, with necessary hardware including hinges ,tower bolts,brushed steel handle, floor spring or door closer to make the door operational as per drawing.
1.17 | CONFRENCE ROOM CHAIR | no.s | 22
Board room chairs: Ergonomic office chair having 360 degree swivel, upholstered in faux leather having high backrest, and wide seat with extra-thick cushions, plus multifunction controls to modify the angle of the back and control the tilt, forward ti
1.18 | MEETING ROOM CHAIRS | no.s | 30
MEETING room chairs: Ergonomic office chair having 360 degree swivel, upholstered in faux leather having high backrest, and wide seat with extra-thick cushions, plus multifunction controls to modify the angle of the back and control the tilt, forward ti
1.19 | WORKSTATION CHAIR | no.s | 40
workstation chairs. Stackable bent plywood chairs in beech finish and clear PU finish on tubular m.s frame with chrome finish
1.2 | CAFÉ CAIRS | no.s | 12
1.21 | RECEPTION CHAIR | no.s | 1
1.22 | L SHAPE WORKSTATION CHAIR | no.s | 4
1.23 | CIO CABIN CHAIR | no.s | 4
1.24 | CXO CABIN CHAIR | no.s | 4
POP / FALSE CEILING / PAINTING WORK
1.1 | POP PUNNING | sq.ft | 5753
1.2 | Gypsum board ceiling in the entire office with designs as approved | sq.ft | 5800
Gypsum board suspended ceiling including Galv iron suspension system, framing & accessories, 12mm thick gypsum-board sheets, screws, taping, joint grout, rubbed down & finished wirh priming top-coat. Including cutting opening for light fittings, spot lights, a.c.grills etc.. including extra framing as required and expansion joints.Cost inclusive of top coat up to the finising level .
1.3 | Wall painting work |  | 8650
MISCELLANEOUS
1.1 | Venetian blinds | sq.ft | 1070
1.2 | Application of frosted glass film on glass partitions. | sq.ft | 203
1.3 | Glass white board | sq.ft | 380
1.4 | Louvered aluminum windows for toilets
Providing and fixing on site 6 mm thick frosted glass louvered windows in aluminum sections.
Provision to be made for fixing exhaust fan of size 1’ x 1’ in aluminum framework.
1.5 | Sofa | no.s | 13
1.6 | Providing & Fixing of Aluminium Window finished in anodizing | sq.ft | 17
1.7 | panneling in reception area | sq.ft | 168
1.8 | Foldable door in meeting room | sq.ft | 144
1.9 | landscaping
Pots and Plants: Providing and placing on site assorted natural/ artificial plants of heights 3’ & 4’ of fern, palm and broad-leafed variegated varieties including soil, compost, plastic container, drip tray etc.
Pots and Plants: Providing and placing on site assorted natural/ artificial plants of heights 5’ & 6’ of fern, palm and broad-leafed variegated varieties including soil, compost, plastic container, drip tray etc.
ELECTRICAL
11 | Electrical System
1 | 2'x2' Led down light, providing & fixing concealed twin lights in main area the cost should include cutting of false ceiling making of syska/hellonix | Nos
2 | LED LIGHT Providing and fixing of LED (6"x6") lights loop in loop out terminal etc. complete with all necessary fixing accessories. (SYSKA C0) | Nos
3 | Cove light- Led strip light | Rft
4 | Supply an installation of 6 amps workstation power sockets with one switch with 2x2.5 sq.mm PVC insulated copper conductor multi strand cable ISI marked approved.the wiring will be KALINGA and switch socket will be Anchor Roma ( 2 sockets controlled by 1 switch) | Nos
5 | Supply an installation of 6 amps point with one switch and one socket with 2x2.5 sq.mm PVC insulated copper conductor multi strand cable ISI marked approved . The wiring will be KALINGA and switch will be Anchor Roma | Nos
6 | Supply an installation of 6 amps Wall fan point with one switch and one socket with 2x2.5 sq.mm PVC insulated copper conductor multi strand cable ISI marked approved . The wiring will be KALINGA and switch will be Anchor Roma | Nos
7 | Supply an installation of 16mps power plug point with one switch with 2.5 sq.mm PVC insulated copper conductor multi strand cable ISI marked approved . wiring will be KALINGA and switch socket will be Anchor Roma | Nos
8 | Electrical point for Split AC , 4 sq.mm wiriring, will be KALINGA | Nos
9 | MAIN CABLE P & F main cable from distribution box to the meter box of the floor level | mtr
10 | Laying of VGA, HDMI USB cable for LCD unit | Nos
11 | 4 ways per phase DB, Havells make including following (DB BOX) | Nos
| 63 amps SPMCB for incomer | Nos
| 10amps SPMCB for out going | Nos
| 16amps SPMCB for out going | Nos
| 32amps SPMCB for out going | Nos
12 | UPS Dristribution Board | Nos
13 | ELECTRICAL PANEL | Nos
14 | Providing and fixing wall fan | Nos
TOTAL OF ELECTRICAL
HVAC
| TOTAL OF HVAC |  |  |  | 0
ANNEXURE - II
Project :- BKC |  |  |  |  | Date :- 30-11-2023
SR NO | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
I | HVAC
1 | Chilled Water Cassette Units
SITC of Chilled water Cassette type indoor units with compact cooling coil, multispeed fan motor, the blower shall be dynamicaly balanced and designed for silent operation, the filters shall be washable synthetic media type arranged for convenient cleaning and replacement and inbuilt drain pump.The units as specified in Schedule of Quantities shall be factory fitted with valve package comprising of 2 way pressure independent valve suitable for variable CHW flow with modulating actuator, ball with Y strainer valve at inlet & Ball valve at outlet and necessary piping connections. The actuator of modulating valve shall be provided with interface cards to receive 0-10V or 4-20 mA signal from Minxon Digital Thermostat.The unit is supplied with corded remote controller of approved as per specifications
1.1 | 1.0 Tr One Way Cassette | 3 | NOS | 47000 | 141000
1.2 | 1.5 Tr One Way Cassette | 6 | NOS | 60000 | 360000
1.3 | 1.5 Tr Four Way Cassette | 3 | NOS | 50000 | 150000
1.4 | 2.5 Tr Four Way Cassette | 5 | NOS | 55250 | 276250
| SUB TOTAL |  |  |  | 927250
| ADD :- SGST @ 14% |  |  |  | 129815
| ADD :- SGST @ 14% |  |  |  | 129815
| GRAND TOTAL |  |  |  | 1186880
SR NO | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Chilled Water Units Installation :
1.1 | 1.0 Tr One Way Cassette | 3 | NOS | 3500 | 10500
1.2 | 1.5 Tr One Way Cassette | 6 | NOS | 3500 | 21000
1.3 | 1.5 Tr Four Way Cassette | 3 | NOS | 3500 | 10500
1.4 | 2.5 Tr Four Way Cassette | 5 | NOS | 3500 | 17500
2 | Chilled Water Piping
2.1 | SITC of MS 'C' Class pipes with specified wall thickness cut to required lengths and installed with all welded joints, providing and fixing in position necessary fittings like bends, elbows, tees, reducers, mating flanges, supports, vibration isoators, sleeves & sockets for BAS, fabricated to size and shape in workshop or brought out ready made where available of acceptable quality.
2.1 | 80 mmØ | 10 | MTR | 1950 | 19500
2.2 | 65 mmØ | 10 | MTR | 1850 | 18500
2.3 | 50 mmØ | 15 | MTR | 1800 | 27000
2.4 | 40 mmØ | 15 | MTR | 1750 | 26250
2.5 | 32 mmØ | 60 | MTR | 1700 | 102000
2.6 | 25 mmØ | 60 | MTR | 1650 | 99000
3 | Valve Station(For IDU) | 15 | SET | 35000 | 525000
4 | Ball Valves (Make :- Zoloto)
4.1 | Providing & fixing full way lever operated forged brass ball valve of brass body with forged brass hard chromeplated steel ball tested to a pressure not less than 15 Kg / sqcm with threaded / flanged joints complete with nuts, bolts, gaskets, washers etc.
4.1.1 | 25 mmØ | 30 | NOS | 1250 | 37500
5 | Balancing Valve (Make :- Castle)
5.1 | Supply, installation, testing & commissioning of following sizes of balancing valve with matching flanges, bolts, supports etc.
5.1.1 | 25 mmØ | 15 | NOS | 4500 | 67500
6 | Pressure Guage/Temperature Guage (Make :- H-GURU)
6.1 | Supply, installation, testing & commissioning of following guages as per drawing
6.1.1 | Pressure gauge | 15 | NOS | 675 | 10125
6.1.2 | Temperature gauge | 15 | NOS | 1875 | 28125
7 | CHW Piping Insualtion
7.1 | Providing & fixing of Glass cloth insulation with nitrile rubber insulation of following thickness.
7.1.1 | 25 mm Thick | 170 | MTR | 1250 | 212500
8 | Condensate Drain Piping
8.1 | Drain piping using CPVC pipe with CPVC fittngs and insulated with 9 mm thick nitrile rubber insulation as follows:
8.1.1 | 40 mmØ | 100 | MTR | 675 | 67500
9 | AIR DISTRIBTION
9.1 | GSS ducting complete with elbows, turning vanes, volume control duct dampers, neoprene / PVC gaskets, GI fully threaded rods, G.I. supports / hangers etc.
9.1.1 | 24 G | 650 | SQFT | 100 | 65000
10 | EXHAUST FAN/GRILLES / DISC VALVE (Supply & Installation)
10.1 | 500 CFM | 1 | NOS | 8500 | 8500
10.2 | 350 CFM | 1 | NOS | 7500 | 7500
10.3 | 300 CFM | 1 | NOS | 6500 | 6500
10.4 | 150 CFM | 1 | NOS | 5500 | 5500
10.5 | 300 x 300 mm Grill | 2 | NOS | 3500 | 7000
10.6 | 4 Disc Valve | 12 | NOS | 2750 | 33000
11 | Lifting & Shifting Chilled Water Units | 15 | NOS | 1000 | 15000
ELECTRICAL WORK
PART I
1 | LIGHT POINTS
Supplying & installing point wiring for Normal points with 1100V grade FR PVC insulated colour coded copper conductor wires made to IS:694 to following light /call bell /ceiling & exhaust fan points with 2 x 1.5 sq.mm.and continuous 1.0 sq.mm. green coloured earth wire from switch board to point in suitable size medium duty PVC conduits with spacers, GI saddles etc. with bends, sockets, couplings, junction boxes, etc. with chasing in wall wherever required, and making good, with modular type switch boards and switches (Legrand Myris white make).(Average point length is 5 Mtr.)
1.1 | Primary Light Point | Nos. | 45
1.2 | Secondary Light Point (looped from above Primary Point) | Nos. | 65
1.3 | 6Amp switch socket as half point on lighting switch board | Nos. | 8
PART II
2 | CIRCUIT WIRING
Supply, Installation of circuit wiring from switch boards/Power points to DB below with FR Copper wires & PVC conduits concealed in wall / partition / above false ceiling including PVC accessories required for conduiting.
2.1 | One circuit 2x1.5+1.0sq.mm in 20mm condt. | Mtrs. | 325
2.2 | ` | Mtrs. | 415
2.3 | One circuit 2x4+2.5sq.mm in 20mm condt. | Mtrs. | 215
2.4 | One circuit 2x6+4 sq.mm in 20mm condt. | Mtrs. | 175
PART III
3 | SWITCH AND SOCKET
Supply, erecting, testing and commissioning of modular type power plug points in concealed manner with metal box & front plates including necessary chasing & recementing in brick work wherever required complete in all respect as below:
3.1 | 8M box including 10A sockets -03 nos, 15A switch - 01 nos, | Nos. | 70
3.2 | 8M +4M +2mbox including 10A sockets -04 nos, 15A switch - 02 nos, HDMI socket - 01nos. | Nos. | 6
3.3 | 8M +6M box including 15A sockets -04 nos, 15A switch - 02nos, RJ45 socket - 01 nos and RJ11 socket - 01nos, HDMI socket - 01 nos. and VGA socket - 01 nos. | Nos. | 2
3.4 | 6M box including 10A sockets -02 nos, 15A switch - 01 nos. | Nos. | 20
3.5 | 6Amp, 5pin switch socket outlet on wall/Partition . | Nos. | 20
3.6 | 16Amp, 5pin switch socket outlet on wall/Partition . | Nos. | 5
PART IV
4 | DATA AND VOICE CABLE
4.1 | I/O socket for voice with plate, back box & required end termination at node end.Dlink make. | Nos. | 65
4.2 | Cat 6 data cable | Mtr | 6500
4.3 | I/O socket for Data with plate, back box & required end termination at node end.Legrand make. | Nos. | 75
4.4 | RG-6 CABLE for TV. | Mtr | 155
4.6 | I/O socket for T.V with plate, back box & required end termination at node end. Legrand make. | Nos. | 4
4.7 | SITC of HDMI Cable | Mtrs. | 40
4.8 | SITC of 100 pair Krone box for telephone | Nos. | 1
4.9 | SITC of 50 MM conduit for HDMI cables | Mtrs. | 65
PART V
5 | ELECTRICAL PANEL
5.1 | SITC of Main power DB, 6way ETPN DB for Lighting DB. Incomer : 40A, 100mA FP MCB , 2 pol RCBO - 3 nos. Outgoing: 10A-32A SP MCB - 18nos. | Nos. | 1
5.2 | SITC of Main power DB, 8way ETPN DB for UPS DB. Incomer :633A, 100mA FP MCB, 2 Pol RCBO - 03 nos. Outgoing: 16A-32A SP MCB - 24nos. | Nos. | 1
5.3 | SITC of Main power DB, 8 way ETPN DB for Row power DB. Incomer :63A, 100mA FP MCB, 2 Pol RCBO - 03 nos. Outgoing: 16A-32A SP MCB - 24nos. | Nos. | 1
6 | PART VI
RACEWAY & GI JUNCTION BOX
6.1 | SITC of 300x50 GI RACE WAY | Mtr | 0
6.2 | SITC of 250x50 GI RACE WAY | Mtr | 0
6.3 | SITC of 200x50 GI RACE WAY | Mtr | 0
6.4 | SITC of 150x50 GI RACE WAY | Mtr | 30
6.5 | SITC of 100x50 GI RACE WAY | Mtr | 50
6.6 | SITC of 50x50 GI RACE WAY | Mtr | 85
6.7 | SITC of 350x350x50 GI JUCTION BOX | Nos. | 0
6.8 | SITC of 300x300x50 GI JUCTION BOX | Nos. | 12
6.9 | SITC of250x250x50 GI JUCTION BOX | Nos. | 25
6.1 | SITC of 200X200x50 GI JUCTION BOX | Nos. | 25
6.11 | SITC of 150X150x50 GI JUCTION BOX | Nos. | 25
6.12 | SITC of 25 mm pvc coduis | Mtr | 200
PART VII
7 | OTHERS
7.1 | Arranging temporary power & Lighting for all agencies to work including suitable protection through MCBs/ELCBs/MCCBs & wiring & cabling.Testing of the installation & preparation of test report and drawings etc. | LS | 1
PART VIII
8 | LIGHTING FIXTURES
8.1 | Supply, Installation of 10W, 4000k LEDlight fixture. Make Parox. | Nos | 12
8.2 | Supply, Installation of 6W, 4000k LEDlight fixture. Make Cree, Parox | Nos. | 12
8.3 | Led Tubelight 4000k | Nos. | 20
8.4 | Supply and installation of 36 Watt suspended -conseald mounted (2X2), 36 watts. Make Standard | No. | 32
8.5 | Supply and installation of twin lights 6Wx2 downlighters with drivers complete. | Nos. | 12
1 | 4MP Dome with 30m IR | Nos | 7
2 | 8 Channel NVR with 2 SATA | Nos | 1
3 | 8 Channel POE Switch | Nos | 1
4 | CAT6 Cable | Mtr | 150
5 | 4U Rack | Nos | 1
6 | Systems configuration charges | Nos | 1
7 | D link RJ45 connectors | Nos | 20
8 | 4 x 4 mounting Box | No. | 7